## SUMMARY
CHENGALPATTU BRANCH & ATM - INTERIOR, FURNISHING, ELECTRICAL, DATA CABLING AND AIR CONDITIONING WORKS FOR PUNJAB & SIND BANK (CHENNAI ZONE)
SUMMARY
SL.NO | PARTICULARS | AMOUNT (Rs.)
1 | BRANCH INTERIOR WORK
2 | BRANCH ELECTRICAL WORKS
3 | BRANCH AIR-CONDITIONING WORKS
4 | ATM ELECTRICAL WORK
5 | ATM AIR-CONDITIONING WORKS
6 | CCTV WORKS
7 | FIRE ALARM SYSTEM & BURGLAR ALARM WORKS
TOTAL
Amount in words :
ALL RATES ARE EXCLUSIVE OF 18% GST
#REF! | #REF!
#REF!
#REF! | #REF!
#REF!
FALSE CEILING ( GYPBOARD )
8 | FALSE CEILING ( MINERAL FIBRE BOARD GRID )

## INTERIOR-ABSTRACT
CHENGALPATTU BRANCH & ATM - INTERIOR, FURNISHING, ELECTRICAL, DATA CABLING AND AIR CONDITIONING WORKS FOR PUNJAB & SIND BANK (CHENNAI ZONE) | [6 empty] | 1.1
PROPOSED ADDITION AND ALTERATION FOR PUNJAB & SIND BANK, CHENGALPATTU
Sr.No | Descripton | Unit | Qnty | Rate | Rate | Amount
INTERIOR WORKS
1 | FULL HEIGHT & HALF HEIGHT SOLID PARTITION
| Providing Full height partitions of height made of of 2"x2" Aluminum frame work finished with vertically at every 600 mm c/c and horizontal frame at bottom, 3’0” level, 1'6" level and 9'0".The frame work to be cladded on both sides with 6mm thick commercial plywood and finished with 1 mm thick decorative laminate. The partition to be provided with TW skirting of size 3” x ¾” on both sides and finished to desired wood effect by application of melamine polish after initial surface preparation.The rate also includes supply, fabrication, fixing with all necessary accessories all with brass finish and other hardwares. The work to be completed as per design and approval of the Architect. | Sft | 466 | 375 |  |  | 50630
2 | FULL HEIGHT PARTITION WITH PARTLY GLAZED
| The partition with 8mm thk. clear float glass with etching (as per design) shall be provided above 3'-0" from GFL upto 7'-0", embedded into partition with 1 1/4" thk white beach or white ceader wooden moulding with natural polish for both sides.1/2" X 3" high white beach wood skirting as per design should run along with the entire bottom length of partition on both sides with natural polish.(Rate to calculated upto False ceiling Ht. The rate also includes supply, fabrication, fixing with all necessary accessories all with brass finish and other hardwares. The work to be completed as per design and approval of the Architect. | Sft | 78 | 400
3 | Full Height Partition -Fully Glazed
| Supplying and fixing of 12 mm thick toughened glass partition with all necessary patch fittings, brackets, and accessories, complete in all respects with installation, alignment, and finishing as per direction of Engineer-in-Charge. | Sft | 133 | 520
4 | Providing and fixing of plyboard partition with 10mm thk.The Partition should contains 4'0'' ht blocked partion from the floor and above 2'6''ht contains glass partion width of 5'0'' remaining 0'6'' contains plyboard partion.. Supply and fixng of 12mm thick toughened Glass in Front Counters . In glass all the edges moulded in bull nosing and it should be fitted with hard wood beading at both the ends to with stand the glass and the wooden surfaces finished with natural wood finish.Also the glass having a opening as mentoned in the drawing or size of 0'6" x 0'9". The rates inclusive of all fittings and accessaries,etc. complete. The entire work to be completed as per the instructions ans consultation of the Architect.The rate also includes supply,fabrication, fixing with all necessary accessories all with brass finish and other hardwares. | Sft | 50.8333 | 425
5 | Supply and fixng of 12mm thick toughened Semi arched Glass B/R Rs250/Sft in front counters. In glass all the edges moulded in bull nosing and it should be fitted with hard wood beading at both the ends to with stand the glass and the wooden surfaces finished with natural wood finish.the glass should have a opening as mentoned in the drawing or a size of 0'6" x 0'9". The rates inclusive of all fittings and accessaries etc. | Sft | 18.8333 | 325
6 | Made out of 18mm commercial ply board outer façade finished with 01mm laminate as per drawing enclosed storage unit with 3 drawers, keyboard and pencil drawer on channels, cable manager, and laminated apron to match décor. Drawer unit and verticals made out of 18mm commercial ply board with Keyboard drawers. PC stands for PC below worktop and 18mm ply boardfootrest finished with enamel paint. All Drawers to be provided with Godrej lock & SS handle of approved make. The exposedside of front façade, drawer front shall be finished with 01mm laminate as per drawing enclosed. The inside shall be melamine polished to give a smooth finish.
a | Working counter 2'0" wide | Rft | 12.8333 | 2750
b | Pantry running counter 2'0" wide & Writing desk | Sft | 14.6667 | 390
7 | Providing and fixing Storage Unit made out of 19 mm block board (IS : 1659) for top, sides & 6 mm. for back finished with 1.0mm laminate. The openable shutters to be made out of 19 mm block board finished outside with 1.0 mm laminate (IS : 2046) with necessary lipping at front side. The cabinet will have shelves of clear ht. approx. 18". The shelves to be made of 19 mm. thk. block board. The necessary godrej multipurpose locks, 4” SS matt finished handles, auto closing hinges are to be provided. Inside of the unit to be synthetic enamel painted / polished in matching tone. For full ht storage, shutters to be divided into two parts vertically & file divider made out of 6mm thk ply to be provided. The work to be completed as per approval and specification of the architect.
| Full height storage | Sft | 28.125 | 1200
| Side storage -18" width | Sft | 9 | 1000
8 | DGM/GM tables - Made out of 19 mm commercial ply board as per drawing enclosed including storage unit with 3 drawers, keyboard on channels, cable manager. Drawer unit and verticals made out of 19 mm commercial ply board. PC stands for PC below worktop and 19 mm ply board footrest finished with enamel paint. All Drawers to be provided with Godrej lock & SS handle of approved make. The exposed side of front façade,drawer front shall be finished with 01 mm laminate as per drawing enclosed. The inside shall be melamine polished to a smooth finish. | Sft | 23.6108 | 1500
9 | MAIN ENTRANCE DOOR
| To be made out of 12mm thk Toughened glass with etching as per design.The glass with etching has to be fixed with all side and Top rails of size 1 1/4" x 5" and the Bottom rail of size 1 1/2" x 10".The rails to be made out of best quality beach wood.The door shall have 18" long S/S handle and also double action floor spring of specified make. The etching in glass pattern to be followed strictly as per instructions of the Architect or following the drawing attached.NB: Size of the door(3'6"x7'0")may slightly vary as per site conditions for matching the elevation of the fixed glazing. All exposed edges of the glass to be machine polished. | Sft | 42 | 850
10 | FLUSH DOORS
| Providing and fixing Solid Core Flush Door Shutter of 35 mm thk. finished both side with 1 mm thk. approved colour laminate (IS : 2046) with 1.5 mm. groove design fixed to Wooden framework of partition. One vision panel of size 6"x 10" made out of 6 mm thk. Clear glass with moulding with polish to be provided. The rate shall be inclusive of fitting and fixing of 3 nos. 100 mm. s/s hinges, door closer, door stopper, screws, cylindrical lock, tower bolt of approved make. All edges of the door to be covered with necessary lipping with polish finish. The work should be completed as per specification, design and approval of Architect. | sft | 84 | 800
11 | SEMIGLAZED DOORS
| Providing and fixing Solid Core Flush Door Shutter of 35 mm thk. finished both side with 1 mm thk. approved colour laminate (IS : 2046) with 1.5 mm. groove design fixed to Wooden framework of partition. One vision panel of size (For BM Chamber door, larger size glass of 600 x 1800 mm. to be provided.) made out of 6 mm thk. Clear glass with moulding with polish to be provided. The rate shall be inclusive of fitting and fixing of 3 nos. 100 mm. s/s hinges, door closer, door stopper, screws, cylindrical lock, tower bolt of approved make. All edges of the door to be covered with necessary lipping with polish finish. The work should be completed as per specification, design and approval of Architect. | Sft | 42 | 1000
12 | WICKET DOOR
Providing & fixing solid core flush door/Wicket Door of 32mm thk with 1.0mm Laminate on both sides.A door frame of salwood section covered by 3" X 1 1/2" white beach or white ceader beeding same size as frame with natural polish shall be provided. The rate shall be inclusive of brass hinges, screws, handle, cylindrical locks(golden, Godrej) , door closer, door stoppers, etc. The work to be completed as per drawing and approval of the architect.
| Wicket door | Sft | 15 | 850
13 | Providing and fixing wall skirting made of 12 mm thick BWP grade plywood, fixed on approved wooden framework/battens, including cutting, screwing, adhesive, edge banding, surface preparation, and finishing with 1.0 mm thick decorative laminate (exterior grade) on exposed face, including matching balancing laminate on rear face, complete as per drawings and direction of Engineer-in-Charge. | Rft | 0 | 122
13 | Providing and fixing notice board / soft board made of 18 mm thick soft board, fixed over approved quality plywood/MDF backing, covered with green colour felt/cloth fabric, including wooden frame of approved section, nails, screws, adhesive, polishing/painting to frame, and fixing complete in all respects as directed by Engineer-in-Charge. | Sft | 100 | 350
14 | False ceiling area -Combination of Heavy duty Commercial on 2'X2' metallic frame with ceiling tiles and Gypsum board false ceiling in ratio 40:60 as per coverage. 4" sunk false ceiling equivalent of Armstrong, Tridon, Conwed, Comceil etc. 600x600 / 15mm dune supreme RH 99 prima tiles with regular edge frame work as specified by Armstrong, Tridon, Conwed, Comceil etc. company / equivalent, thus covering 40% of area whereas the balance area to be covered with gypsum board (IS2095-1982) false ceiling about 60% area coverage and vertical sunk areas. Provision of False ceiling at Rural & semi Urban Branches would be need based and as per décor required, with specific approval of RO.
a | Grid ceiling-Providing and fixing in true horizontal level false ceiling grid of Prelude exposed 24 mm grid system with 15mm manufactured by Approved Make by Architect.Using hot dipped chemically cleaned capping prefinished in baked polyster galvanized steel section exposed surface paint wall angle of size 3000 x 19 x 19mm used in the periphery of the ceiling fixed to the wall partition RC column band walls with the help of screw at 600mm C/C. main runner of size 3000x15x32mm suspended at 1200mm C/C by using 2mm/3mm dia GI wire hanger securely fixed to the structural soffit of RC slab by using 6mm anchor fastener at every 1200mm (max) and 1200mm long cross tee of size 15 x 32mm to be interlocked between in main runner at 600mm C/C. (max) to form a grid of 1200 x 600mm.long cross tee of size 15 x 32 fixed In between 1200 mm long cross tee for forming a grid of 600 x 600mm. Finally laying Armstrong Lay - in Fine fissured 99 Board edge Ceiling with Perforated (standard) tile of Trulok Edge manufactured by M/s Armstrong world Industries Ltd., | Sft | 945.98 | 130
15 | Painting New Plastered Wall Surface with Two finishing coats of ready mixed (Emulsion) of approved quality and colour over one coat priming coat in all floors including the cost of primer etc., complete complying with standard specification and as directed by the departmental officers.(The make, quality and colour of paint should be got approved by the Executive Engineer before use on works.) | sft | 1706.3708 | 18
Subtotal for Interior works
sundries
GRAND TOTAL for interior work
| Note: GST 18% Extra | [5 empty] | 848000
General Notes
1 | MR Grade plywood considered of 18mm, 16mm, 12mm & 6mm thk wherever necessary.
2 | External lamination finishes are 1mm thk whereas 8mm /1mm for inner surfaces.
3 | Hardwares-EBCO or equivalent brand .
4 | Electrical Work Estimation will Be given seperately.
5 | The above estimated quantity are based on the drawing measurement, actual area Should be measured during billing.
6 | If any items added newly while execution of works, then that items will be done upon clients approval and billed additionaly.
7 | Pest control to be done before executing interiors

## INTERIOR-DM (hidden)
NAME OF WORK: PROPOSED ADDITION AND ALTERATION FOR PUNJAB & SIND BANK, CHENGALPATTU
Detailed Estimate
S.NO | DESCRIPTION | NOS |  |  | L (m) | B (m) | D(m) | QTY | UNIT
A | GROUND FLOOR
1 | FULL HEIGHT & HALF HEIGHT SOLID PARTITION
| Around Record room | 1 | x | 1 | 7.25 |  | 10 | 72.5
| Deduction - D1 | -1 | x | 1 | 3 |  | 7 | -21
| Around server | 1 | x | 1 | 12 |  | 10 | 120
| Deduction - D1 | -1 | x | 1 | 3 |  | 7 | -21
| Pantry | 1 | x | 1 | 23.5 |  | 10 | 235
| Deduction - D1 | -1 | x | 2 | 3 |  | 7 | -42
| Behind writing desk | 1 | x | 1 | 12.25 |  | 10 | 122.5
| Total | [6 empty] | 466 | Sft
[8 empty] | 43.3086 | sqm
2 | FULL HEIGHT PARTITION WITH PARTLY GLAZED:
| Branch manager room | 1 | x | 1 | 12 |  | 10 | 120
| Deduction - GD | -1 | x | 2 | 3 |  | 7 | -42
| Total | [6 empty] | 78 | Sft
[8 empty] | 7.2491 | sqm
3 | Full Height Partition -Fully Glazed
| @ entrance | 1 | x | 0 | 10 |  | 10 | 0
| Deduction - MD | -1 | x | 0 | 3.5 |  | 7 | 0
| B/n cashier & staff | 1 | x | 1 | 8.5 |  | 10 | 85
| Deduction - GD | -1 | x | 1 | 3 |  | 7 | -21
| @ ATM | 1 | x | 1 | 9 |  | 10 | 90
| Deduction - GD | -1 | x | 1 | 3 |  | 7 | -21
| Total | [6 empty] | 133 | Sft
[8 empty] | 12.3606 | sqm
4 | Cashier partition
| Cashier | 1 | x | 1 | 5.0833 |  | 10 | 50.8333
| Total | [6 empty] | 50.8333 | Sft
[8 empty] | 4.7243 | sqm
5 | Glass partition above working counter
| Above working counter (AM & LO) | 1 | x | 1 | 12.6667 |  | 1 | 12.6667
| Above working counter -SS | 1 | x | 1 | 6.1667 |  | 1 | 6.1667
| Total | [6 empty] | 18.8333 | Sft
[8 empty] | 1.7503 | sqm
6
a | Working Counter - 2'0' wide - 2'6" ht
| Working counter with storage (AM & LO) | 1 | x | 1 | 8.6667 |  |  | 8.6667
| Working counter with storage (SS) | 1 | x | 1 | 4.1667 |  |  | 4.1667
| Working counter with storage (cashier) | 1 | x | 1 | 5.0833 |  |  | 5.0833
| Total | [6 empty] | 12.8333 | Rft
[8 empty] | 3.9126 | Rmt
b | panel desk
| Writing desk | 1 | x | 1 | 8.1667 |  | 1 | 8.1667
| Pantry counter | 1 | x | 1 | 6.5 |  | 1 | 6.5
| Total | [6 empty] | 14.6667 | Sft
[8 empty] | 1.3631 | Sqm
7 | Side storage -18" width
| Low level storage in BM room | 1 | x | 0 | 6.25 |  | 4.5 | 0
| LHS-Low height storage | 1 | x | 1 | 2 |  | 4.5 | 9
| Total | [6 empty] | 9 | Sqft
[8 empty] | 0.83643 | Sqm
Full Height storage -24" width -Full HT storage unit 18” deep and 7’ High and length as per site.
| Near locker room. | 1 | x | 1 | 6.25 |  | 4.5 | 28.125
| Nera storage/server | 1 | x | 0 | 5.25 |  | 7 | 0
| File rack | 1 | x | 0 | 5 |  | 7 | 0
| Total | [6 empty] | 28.125 | Sqft
[8 empty] | 2.6138 | Sqm
8 | Branch manager table
| Branch manager table -2'9" wide | 1 | x | 1 | 6.9167 | 2.75 |  | 19.0208
| Side table | 1 | x | 1 | 1.5 | 3.06 |  | 4.59
| Total | [6 empty] | 23.6108 | sft
[8 empty] | 2.1943 | sqm
9 | Glass door -The door shall be made of 12mm toughen glass
| @ entry MD | 1 | x | 1 | 3.5 |  | 7 | 24.5
| @ ATM | 1 | x | 1 | 2.5 |  | 7 | 17.5
| Total | [6 empty] | 42 | Sft
[8 empty] | 3.9033 | Sqm
10 | Flush door
| @ Record room D1 | 1 | x | 1 | 3 |  | 7 | 21
| @ Pantry D1 | 1 | x | 2 | 3 |  | 7 | 42
| @ Server room D1 | 1 | x | 1 | 3 |  | 7 | 21
| Total | [6 empty] | 84 | Sft
[8 empty] | 7.8067 | Sqm
11 | Semi Glazed door
| BM - GD | 1 | x | 2 | 3 |  | 7 | 42
| Total | [6 empty] | 42 | Sft
[8 empty] | 3.9033 | Sqm
12 | Wicket door
| Staff entry | 1 | x | 1 | 3.75 |  | 4 | 15
| Total | [6 empty] | 15 | Sft
[8 empty] | 1.3941 | Sqm
Workers area
13 | Marine ply skirting
| Around Record room | 1 | x | 1 | 18.5833 |  |  | 18.5833
| Deduction - D1 | -1 | x | 1 | 2.5833 |  |  | -2.5833
| Around Storage server | 1 | x | 1 | 24.1667 |  |  | 24.1667
| Deduction - D1 | -1 | x | 1 | 3 |  |  | -3
| Around Staff room | 1 | x | 1 | 5.25 |  |  | 5.25
| Around Janitor | 1 | x | 1 | 5.99 |  |  | 5.99
| Pantry | 1 | x | 1 | 5 |  |  | 5
| Locker room wall | 1 | x | 1 | 3.5 |  |  | 3.5
| Branch manager room | 1 | x | 1 | 20.6667 |  |  | 20.6667
| Deduction - GD | -2 | x | 1 | 2.75 |  |  | -5.5
| Cashier | 1 | x | 1 | 5 |  |  | 5
| B/n cashier & staff | 1 | x | 1 | 6.4167 |  |  | 6.4167
| Deduction - GD | -1 | x | 1 | 2.75 |  |  | -2.75
| Total | [6 empty] | 80.74 | rft
[8 empty] | 24.6159 | rmt
14 | Soft board | 1 | x | 1 | 100 |  |  | 100
| Total | [6 empty] | 100 | Sft
[8 empty] | 9.2937 | Sqm
15 | False ceiling | [5 empty] | 12
a | Grid Celling
| Ceiling area | 1 | x | 1 | 100.1 |  |  | 100.1
| Ceiling area | 1 | x | 1 | 573 |  |  | 573
| Ceiling area | 1 | x | 1 | 123.7 |  |  | 123.7
| Ceiling area (ATM) | 1 | x | 1 | 69.5 |  |  | 69.5
| Add in area -10% | 0.1 | x | 1 | 796.8 |  |  | 79.68
| Total | [6 empty] | 945.98 | Sft
[8 empty] | 87.9164 | Sqm
16 | Wall painting
| All round | 1 | x | 1 | 170.375 |  | 10 | 1703.75
| Less W2 | -1 | x | 2 | 8.75 |  | 6 | -105
| Less W3 | -1 | x | 4 | 5.5 |  | 6 | -132
| Less W4 | -1 | x | 2 | 4.5 |  | 6 | -54
| Less W5 | -1 | x | 2 | 4.75 |  | 6 | -57
| Less W6 | -1 | x | 2 | 4 |  | 6 | -48
| Less W8 | -1 | x | 1 | 3 |  | 5 | -15
| Less W9 | -1 | x | 1 | 3 |  | 3 | -9
| Less V | -1 | x | 2 | 2 |  | 3 | -12
| Less RS | -1 | x | 1 | 4.25 |  | 8 | -34
| ATM | 1 | x | 1 | 26.5833 |  | 10 | 265.8333
Celling Painting
| Record Room. | 1 | x | 1 | 7.25 | 7.25 |  | 52.5625
| Server room | 1 | x | 1 | 4.5 | 7.25 |  | 32.625
| Pantry | 1 | x | 1 | 117.6 |  |  | 117.6
| Total | [6 empty] | 1706.3708 | Sft
[8 empty] | 158.5846 | Sqm

## BRANCH ELECTRICAL
CHENGALPATTU BRANCH & ATM - INTERIOR, FURNISHING, ELECTRICAL, DATA CABLING AND AIR CONDITIONING WORKS FOR PUNJAB & SIND BANK (CHENNAI ZONE)
COST ESTIMATE / BILL OF QUANTITIES (BRANCH ELECTRICAL)
NO | WORK DESCRIPTION | QTY | UNIT | RATE | AMOUNT
II | BRANCH ELECTRICAL WORKS
A | LIGHT/FAN POINT WIRING
Supply and run of 3Rx1.5 sq.mm. FR pvc multistrand Copper wire in suitable FRLS PVC conduit, having 6A modular switch on modular PVC/GI box for the following points
1 | Primary point | 7 | Pts
2 | Secondary point | 42 | Pts
3 | wall fan point including 5A socket with control switch | 8 | Pts
4 | 1No. 6A socket controlled by single switch in switch board | 7 | Pts
5 | 1No. Buzzer with bellswitch incl. wiring connections | 1 | Pts
6 | Supply and laying 2x2.5 1 x 2.5 sq.mm. PVC insulated copper for lighting circuit main. | 90 | Mtr
B | MAIN SUPPLY (PRIMARY DISTRIBUTION) MCB DB, PANEL BOARD
1 | Panel Board
Supply, Erection, Testing and Commissioning of Indoor type MAIN PANEL, Wall / Floor mounting type, dust and vermin proof by construction of 14 SWG CRCA sheets Compartmentalised, modular type IP 42 Protection with powder coated panel as specification below.
Incomer:
1 No - 63A 4P 25kA MCCB
1 Set of Current transformer rated 125/5A, 10VA/CI 1.0 for metering.
1No – Digital Multi data Meter
1 Set – LED type RYB indication lamps with control fuses
Outgoing feeders
1Nos -40A TPN MCCB
3Nos -32A TPN MCCB
100A Aluminium Bus Bar and Associated Accessories as required.
All breaker should be rotary handle mechanism
| Incoming and outgoing cables shall be of Top entry only. | 1 | No.
CHANGE OVER SWITCH FOR UPS & LIGHTING LOAD
2 | Supply and installation of 32 A 4PMCB in sheet steel enclosure on wall mounting angle iron frame work and including top & bottom cable boxes to receive incoming & outgoing cables. | 1 | Nos.
3 | Supply, erection, testing and commissioning of single phase 12WAY, SPN MCBDB double door type, IP 42 powder coated for Lighitng DB 32A DP MCB – 1No as INCOMER, 10A SP MCB – 6 Nos.,25ASP MCB - 1Nos as OUTGOING Including all interconnections & accessories etc., | 1 | Nos.
4 | Supply and fixing 8way TPN DB double door having 32A4p ELCB WITH 100mA-1 No. as incomer with ,25 A SP -7 No, 16A SP - 8 Nos, 10A,SP -5 Nos MCBs with suitable rated cu. Bar connection including interconnection.& junction box as necessary Required job etc.( For A/C & Power Load ) | 1 | Nos.
5 | MAIN DB FOR UPS & LIGHTING LOAD
| Supply and fixing4way TPN DB double door having 32A4p ELCB WITH 30mA-1 No. as incomer with 6A - 12Nos , SP MCBs with suitable rated cu. Bar connection including interconnection.& junction box as necessary Required job etc.( For Lighting & Small power ) | 1 | No.
C | POWER CABLE & CONDUIT WIRING
Supplying, laying, testing & commissioning of PVC / LT insulated 1.1KV grade armoured conductor cables of the following sizes, clamping on to the wall as per site condition.
1 | 4c x 35 Sq .mm Al. XLPE,Ar Cable | 10 | Mtrs
3 | 4R X 6 Sqmm. & 2R X 2.5 Copper Cable in a suitable PVC FRLS conduits | 20 | Mtrs
4 | 3R X 6Sqmm. Copper Cable in a suitable PVC FRLS conduits (FOR LIGHTING ) | 15 | Mtrs
END-TERMINATION
Terminating, Connecting and Commissioning of the above under Ground cables with compression type SIBG Cable glands.The cost of earthing gland with copper strips/wires shall also be included. The cables shall be terminated with aluminium lugs after crimpin
1 | 4c x35 Sq .mm Al. XLPE,Ar Cable | 2 | Nos
3 | 4R X 6 Sqmm. & 2R X 2.5 Copper Cable in a suitable PVC FRLS conduits | 6 | Nos
4 | 3R X 6 Sqmm. Copper Cable in a suitable PVC FRLS conduits | 2 | Nos
D | RAW POWER SOCKETS, AC SOCKETS WITH WIRING
1 | Supply and run of 2 runs of 4.0 sq.mm. For phase, netural and 1 run of 2.5 sq.mm for earth PVC multristrand FRLS wire from Main D.B. to split air – conditioners/ 16Amps Sockets in P.V.C. conduit pipes including chasing in walls / floor wherever necessary. | 30 | Mtrs
2 | Supply and run of 2 runs of 6.0 sq.mm. For phase,netural and 1 run of 2.5 sq.mm for earth PVC multristrand FRLS wire from Main D.B. to split air – conditioners in P.V.C. conduit pipes including chasing in walls / floor wherever necessary. | 50 | Mtrs
3 | Supply and run of 3 runs of 2.5 sq.mm.phase,Netural, earth PVC multristrand FRLS wire from Main D.B. to 6Amps Sockets for Works station Points in P.V.C. conduit pipes including chasing in walls / floor wherever necessary. | 120 | Mtrs
4 | Supply and fixing of 25 A switched socket with indicators in modular box For Split A/c control. | 6 | Nos
5 | Supply and fixing of 16A switched socket with indicators in modular box For utility | 8 | Nos
6 | Supply and fixing of 6A switched socket with indicators in modular box For work stations. | 16 | Nos
E | UPS WIRING & ACESSORIES
1 | Supply and fixing of 32 A 4P. MCB as input control in separate steel sheet enclosures and necessary connections. | 1 | Nos
4 | Supply and fixing4way TPN DB double door having 32A4p ELCB WITH 30mA-1 No. as incomer with 6A - 12Nos , SP MCBs with suitable rated cu. Bar connection including interconnection.& junction box as necessary Required job etc.( For Lighting Load ) | 1 | Nos
5 | Supply and run of 3 runs of 2.5 sq.mm.phase,Netural, earth PVC multristrand FRLS wire circuits from UPS. D.B. to required places (work stations) in P.V.C. conduit pipes including chasing in walls / floor wherever necessary | 90 | Mtrs
6 | Supply,fixing, testing & commissioning of 3No. 6A. 2/3 multi pin socket outlet in UPS circuit controlled with 1No. 6A one way switch in a steel sheet enclosure with 8 module top plate including dummies and incidental materials etc., for work stations. | 2 | Nos
F | LIGHT FITTING SUPPLY & ERECTIONS
Notes: As per Site Conditions with necessary job etc.
2 | Supply and fixing of 18W LED, square type down lighters. CRCA fabricated enclosure with polycarnote diffuser and illumination area minium 380 mm suitable for Surface /recessed mounting POP/T Grid, Phillips / Wipro / CromptonGreaves/Elenserve make in false ceiling 15W white square LED Down Lighter with necessaryaccessories required for the job. | 31 | Nos
3 | 4 feet 1 X 18 W LED tube light cool white 6000 K with integerated driver working range from 90 - 260 V AC , PF>0.9 Fitting with necessaryaccessories requiredfor the job.( Locker,cash, record rm) | 6 | Nos
3 | Supply and fixing of 2 ' x 2 ' 36 - W LED Fitting. CRCA fabricated enclosure with polycarnote diffuser and illumination area minium 380 mm suitable for Surface /recessed mounting POP/T Grid. Phillips / Wipro / CromptonGreaves/Elenserve make in false ceiling with necessaryaccessories required for the job. | 12 | Nos
4 | Supplying, fixing and Commissioning of wall mounting fan. Make: Crompton greaves – SDX 120 model | 8 | Nos
G | EARTHING
1 | Providing and fixing of chemical earth electroad made out of 50mm dia class-B Asahalock or equevalent 2m length with copper plate made out of 600x600x3.15 mm tinned copper plate along with one number 40x5mm tinned copper strip grazed with the plate buried vertically with top edge of the plate at a depth of 1500 mm with arrangements for termination of copper strip of earth continuty conductor including cost of charcole,saltoreign soil, water pouring arrangements brick massionry encloser on top with R.C.C cover complete with labour and material as per direction of Engineer-in-charge (UPS-2, PANEL-1) | 2 | Nos
2 | Supplying,laying and connecting 1Rx6 sq.mm. FRLS pvc multistrand Copper wire in suitable FRLS PVC conduit, open fashion with necessaryclamps, screws, etc. as earth link. | 20 | Mtrs
3 | Supplying,laying and connecting 300mm.long 25 x 3 mm. Copperflat with SMC/ DMCInsulators in open fashion with necessaryclamps, screws, etc. as earth link. | 2 | Nos
4 | Supplying,laying,connecting 10SWG bare enamelled copper wire already laid PVC Conduits with necessary clamps, screws etc. | 20 | Mtrs
5 | Supplying,laying,connecting 8SWG bare enamelled copper wire already laid PVC Conduits with necessary clamps, screws etc. | 20 | Mtrs
H | TELEVISION & TELEPHONE & LAN WIRING, MISC
TELEVISION WIRING
1 | Supply and fixing of RG 6 , television socket, 3 x 6A socket & 16 Amps switch outlet in modular box. | 1 | Nos
2 | Supply and run of RG 6 type CO - axial cable | 15 | Mtrs
TELEPHONE WIRING
3 | Supply and fixing of RJ 11, telephone socket, outlet in modular box. | 5 | Nos
4 | Supply and run of 2 pair telephone cable in suitable PVC conduit from telephone outlet | 75 | Mtrs
LAN WIRING
5 | Supply and run e-cat 6, 6pair 0.5 sqmm data cable for computers in separate PVC conduit pipes including chasing in walls / floors from hub to necessary stations. | 90 | Mtrs
6 | Supplying, fixing testing commissioning of RJ-45 data sockets in separate enclosure including all incidental materials etc., complete. | 10 | Nos
7 | Supply, fixing, testing & commissioning of 9U Hub Rack with Power Cord and accessories | 1 | Nos
8 | Supply, fixing, testing & commissioning of jack panel 24 Port.. | 1 | Nos
9 | Supply, fixing, testing & commissioning of 24 port switch 10/100 Mbps including connections. | 1 | Nos
10 | Supply and installation of 1 m long patch chord.(CAT 6) | 10 | Nos
11 | Supply and installation of 2 m long patch chord. (CAT 6) | 10 | Nos
MISCELLIANEOUS
13 | Temporary for Lightpoints,Workstation wiring & Data Cable Laying With All Necessary Required job etc. | 1 | L/S
14 | Buyback old and unwanted materials. (to be deduct)*
TOTAL

## BRANCH HVAC
CHENGALPATTU BRANCH & ATM - INTERIOR, FURNISHING, ELECTRICAL, DATA CABLING AND AIR CONDITIONING WORKS FOR PUNJAB & SIND BANK (CHENNAI ZONE)
COST ESTIMATE / BILL OF QUANTITIES (BRANCH AIR-CONDITIONING WORKS)
NO | WORK DESCRIPTION | QTY | UNIT | RATE | AMOUNT
III | BRANCH AIR-CONDITIONING WORKS
1 | Supply and installation of 1.0 TR Capacity high Wall Split Air Conditioner 5 Star Rated (voltas/carrier / blue star/Samsung) including 4KVA Voltage stablizer installation of out door units complete including all civil Works | 3 | Nos
2 | Supply and installation of 2.5 TR Capacity Cassette Unit 5 Star Rated (voltas/carrier / blue star/Samsung) including 4KVA Voltage stablizer installation of out door units complete including all civil Works | 2 | Nos
3 | Supply and installation of Ms ( Mild Steel) cages made of 1/2" x 1/2" Ms square bars for out door unit size 3 ' - 6 " x 2 ' - 6" including civil works and open arrangement in top and painting with 2 coats of synthetic enamel paint over a primer coat | 5 | Nos
4 | Supply & Laying of PVC Drain Piping for Split AC Units | 20 | Mtrs
5 | Supply and installation of 3 /4 " dia additional copper piping | 10 | Mtrs
6 | Supply and Installation of 3C x 4.0 sqmm communication cable. | 25 | Mtrs
7 | Supply and Installation of Drain Pump for Hi-Wall Split Units | 3 | Nos
8 | Additional gas charging site | 1 | Lot
TOTAL

## ATM ELECTRICAL
CHENGALPATTU BRANCH & ATM - INTERIOR, FURNISHING, ELECTRICAL, DATA CABLING AND AIR CONDITIONING WORKS FOR PUNJAB & SIND BANK (CHENNAI ZONE)
COST ESTIMATE / BILL OF QUANTITIES (ATM ELECTRICAL WORKS)
NO | WORK DESCRIPTION | QTY | UNIT | RATE | AMOUNT
VI | ATM ELECTRICAL WORKS
A | LIGHT/FAN POINT WIRING
1 | Supply and run of 3Rx1.5 sq.mm. FR pvc multistrand Copper wire in suitable FRLS PVC conduit, having 6A modular switch on modular PVC/GI box for the following points
2 | Primary point | 1 | Pts
3 | Secondary point | 3 | Pts
5 | 1 No. 6A socket controlled by single switch in switch board | 1 | Pts
6 | Supply and laying 2x2.5 1 x 2.5 sq.mm. PVC insulated copper for lighting circuit main. | 10 | Mtr
7 | Wiring for Name Board lighting circuit using 3R 4.0 sqmm PVC insulated multi stranded single core copper conductor FRLS wire in 20mm PVC conduit to be on wall complete with all accessories. | 9 | Mtr
B | MAIN SUPPLY (PRIMARY DISTRIBUTION) MCB DB
1 | Supply, Installation, Testing and Commissioning of 4WAY VERTICAL TYPE TPN MCBDB Double door type, IP 42 powder coated comprising of "C" curve MCB's for ATM DB Incomer - 40 A 4P MCB - 01 No,Outgoing - (A)10 A SP MCB - 3 Nos.,20 A SP MCB - 3 Nos.,40 A DP MCB - 2 Nos. | 1 | Nos.
C | CABLES
Supplying, laying, testing & commissioning of PVC / LT insulated 1.1KV grade armoured conductor cables of the following sizes, clamping on to the wall as per site condition.
1 | 4R X 6 Sqmm. & 2R X 2.5 Copper Cable in a suitable PVC FRLS conduits | 10 | Mtrs.
TERMINATIONS
Terminating, Connecting and Commissioning of the above under Ground cables with compression type SIBG Cable glands.The cost of earthing gland with copper strips/wires shall also be included. The cables shall be terminated with aluminium lugs after crimpin
2 | 4R X 6 Sqmm. & 2R X 2.5 Copper Cable in a suitable PVC FRLS conduits | 2 | Nos.
D | RAW POWER SOCKETS, AC SOCKETS WITH WIRING
1 | Supply and run of 2 runs of 4.0 sq.mm. For phase,netural and 1 run of 2.5 sq.mm for earth PVC multristrand FRLS wire from Main D.B. to split air – conditioners/ 16Amps Sockets in P.V.C. conduit pipes including chasing in walls / floor wherever necessary. | 15 | Mtrs.
2 | Supply and run of 2 runs of 4.0 sq.mm. For phase,netural and 1 run of 2.5 sq.mm for earth PVC multristrand FRLS wire from Main D.B. to split air – conditioners in P.V.C. conduit pipes including chasing in walls / floor wherever necessary. | 15 | Mtrs.
3 | Supply and run of 3 runs of 2.5 sq.mm.phase,Netural, earth PVC multristrand FRLS wire from Main D.B. to 6Amps Sockets for Works station Points in P.V.C. conduit pipes including chasing in walls / floor wherever necessary. | 20 | Mtrs.
4 | Supply and fixing of 25 A switched socket with indicators in modular box For Split A/c control. | 2 | Nos.
5 | Supply and fixing of 16A switched socket with indicators in modular box For utility | 2 | Nos.
6 | Supply and fixing of 6A switched socket with indicators in modular box For work stations. | 2 | Nos.
E | UPS WIRING & ACESSORIES
1 | Supply and fixing of 40 A 4P. MCB as input control in separate steel sheet enclosures and necessary connections. | 2 | Nos.
3 | Supply and fixing of 25 Amp Automatic change over switch for connecting branch UPS and ATM UPS metal sheet enclosure with necessary Interconnections, cable box,brackets, screws,bolts,nuts,etc. | 1 | Nos.
5 | Supply & Laying of 2 runs of 6.0 Sqmm and single run of 2.5 sqmm, PVC insulated, single core, multistranded copper conductor cable in suitable rigid PVC conduit from UPS output to UPS DB contol switch and to UPS DB. | 15 | Mtrs.
6 | Supply, erection, testing and commissioning of single phase 6 WAY, SPN MCBDB double door type, IP 42 powder coated for UPS and Emergency Lighting with (d-curve) 32A DP MCB – 1No as INCOMER 10A SP MCB – 4 Nos. as OUTGOING, Including all interconnections & accessories etc., | 1 | Nos.
7 | Supply and run of 3 runs of 2.5 sq.mm.phase,Netural, earth PVC multristrand FRLS wire circuits from UPS. D.B. to required places (work stations) in P.V.C. conduit pipes including chasing in walls / floor wherever necessary | 15 | Mtrs.
8 | Supply,fixing, testing & commissioning of 3No. 6A. 2/3 multi pin socket outlet in UPS circuit controlled with 1No. 6A one way switch in a steel sheet enclosure with 8 module top plate including dummies and incidental materials etc., for work stations. | 2 | Nos.
F | LIGHT FITTING SUPPLY & ERECTIONS
1 | Supply and fixing of 18W LED, square type down lighters. CRCA fabricated enclosure with polycarnote diffuser and illumination area minium 380 mm suitable for Surface /recessed mounting POP/T Grid, Phillips / Wipro / CromptonGreaves/Elenserve make in false ceiling 15W white square LED Down Lighter with necessaryaccessories required for the job. | 4 | Nos.
G | EARTHING
1 | Providing and fixing of chemical earth electroad made out of 50mm dia class-B Asahalock or equevalent 2m length with copper plate made out of 600x600x3.15 mm tinned copper plate along with one number 40x5mm tinned copper strip grazed with the plate buried vertically with top edge of the plate at a depth of 1500 mm with arrangements for termination of copper strip of earth continuty conductor including cost of charcole,saltoreign soil, water pouring arrangements brick massionry encloser on top with R.C.C cover complete with labour and material as per direction of Engineer-in-charge | 2 | Nos.
2 | Supplying,laying and connecting 1Rx6 sq.mm. FRLS pvc multistrand Copper wire in suitable FRLS PVC conduit, open fashion with necessaryclamps, screws, etc. as earth link. | 5 | Mtrs.
3 | Supplying,laying and connecting 300mm.long 25 x 3 mm.Copperflat with SMC/ DMCInsulators in open fashion with necessaryclamps, screws, etc. as earth link. | 2 | Nos.
4 | Supplying,laying,connecting 10SWG bare enamelled copper wire already laid PVC Conduits with necessary clamps, screws etc. | 5 | Mtrs.
5 | Supplying,laying,connecting 8SWG bare enamelled copper wire already laid PVC Conduits with necessary clamps, screws etc. | 5 | Mtrs.
H | LAN WIRING
1 | Supply and run e-cat 6, 6pair 0.5 sqmm data cable for computers in separate PVC conduit pipes including chasing in walls / floors from hub to necessary stations. | 10 | Mtrs.
2 | Supplying, fixing testing commissioning of RJ-45 data sockets in separate enclosure including all incidental materials etc., complete. | 2 | Nos.
3 | Supply and installation of 1 m long patch chord.(CAT 6) | 2 | Nos.
4 | Supply and installation of 2 m long patch chord. (CAT 6) | 2 | Nos.
TOTAL

## ATM HVAC
CHENGALPATTU BRANCH & ATM - INTERIOR, FURNISHING, ELECTRICAL, DATA CABLING AND AIR CONDITIONING WORKS FOR PUNJAB & SIND BANK (CHENNAI ZONE)
COST ESTIMATE / BILL OF QUANTITIES (ATM AIR-CONDITIONING WORKS)
NO | WORK DESCRIPTION | QTY | UNIT | RATE | AMOUNT
VII | ATM AIR-CONDITIONING WORKS
1 | Supply and installation of1.5 TR Capacity high Wall Split Air Conditioner 5 Star Rated (voltas/carrier / blue star/Samsung) including 4KVA Voltage stablizer installation of out door units complete including all civil Works | 2 | Nos
2 | Supply and installation of Ms (Mild Steel) cages made of 1/2" x 1/2" Ms square bars for out door unit size 3 ' - 6 " x 2 ' - 6" including civil works and open arrangement in top and painting with 2 coats of synthetic enamel paint over a primer coat | 2 | Nos
3 | Supply & Laying of PVC Drain Piping for Split AC Units | 3 | Mtrs
4 | Supply and installation of 3 /4 " dia additional copper piping | 3 | Mtrs
5 | Supply and Installation of 3C x 4.0 sqmm communication cable. | 6 | Mtrs
6 | Supply and installation of 0-24 hr cyclic timer along with 25A 2pole air break contractors with MS box | 1 | Nos
TOTAL

## CCTV
CHENGALPATTU BRANCH & ATM - INTERIOR, FURNISHING, ELECTRICAL, DATA CABLING AND AIR CONDITIONING WORKS FOR PUNJAB & SIND BANK (CHENNAI ZONE)
COST ESTIMATE / BILL OF QUANTITIES (CCTV WORKS)
NO | WORK DESCRIPTION | QTY | UNIT | RATE | AMOUNT
VIII | CCTV WORKS
1 | Supply and run e-cat 6, 6pair 0.5 sqmm data cable for computers in separate PVC conduit pipes including chasing in ceilling / walls / floors from hub to necessary stations. | 190 | Mtrs
2 | Supply of Hikvision turbo HD IR Outdoor Bullet Camera 20Mtrs range | 2 | Nos
3 | Supply of Hikvision turbo HD IR Indoor Dome Camera 20Mtrs range with 180 days back up with necessary requirments | 10 | Nos
4 | Supply of Hikvision HD 8 Channel DVR | 1 | Nos
5 | Supply of Hikvision HD 4 Channel DVR | 1 | Nos
6 | Supply of 6TB HDD | 1 | Nos
7 | Supply of 20Ams 12V DC Power Supply for Cameras | 1 | Nos
8 | Supply of BNC Connectors & DC Pin Connectors for Cameras & DVR | 1 | Nos
9 | Supply of 9U Wallmount Rack with Accessories | 1 | Nos
Installation Charges
10 | Laying of CCTV Cat - 6 Cable Through out PVC Conduits | 240 | Mtrs
11 | Camera Fixing & Termination | 10 | Nos
12 | DVR Installation and remote view | 1 | Nos
13 | 9U Wallmount Rack Fixing, Patching and Dressing | 1 | Nos
TOTAL

## FAS
CHENGALPATTU BRANCH & ATM - INTERIOR, FURNISHING, ELECTRICAL, DATA CABLING AND AIR CONDITIONING WORKS FOR PUNJAB & SIND BANK (CHENNAI ZONE)
COST ESTIMATE / BILL OF QUANTITIES ( FAS & BURGLAR ALARM WORKS)
NO | WORK DESCRIPTION | QTY | UNIT | RATE | AMOUNT
IX | FAS & BURGLAR ALARM WORKS
1 | Supplying, installation, testing & commissioning of heat detector operating at 54ºC/57ºC with rate of rise cum fixed temperature (dual thermistor) type with mounting base complete with all connection etc. as required. | 1 | Nos
2 | Supplying, installation, testing & commissioning of smoke detector with builtin LED and mounting base complete with all connections etc. as required | 4 | Nos
3 | Supplying, installation, testing & commissioning response indicator on surface/recess MS box having two LEDs metallic cover complete with all connections etc. as required. | 1 | Nos
4 | Supplying, installation, testing & commissioning of manual call boxes of MS construction in surface/recess with stainless steel chain & hammer assembly complete with glass and push button etc. as required | 1 | Nos
5 | Supplying, installation, testing & commissioning fire alarm sounder with facility to make announcement, mounted in M.S. box (16 SWG) with hinged cover plate & suitable for operation with amplifier i/c line matching transformer etc. complete as required. | 1 | Nos
6 | Supplying, installation, testing & commissioning sector panel suitable for following zones, complete with visual indications for short circuit fault, open circuit fault, fire condition and all other standard facilities as per IS:2189 with mimic diagram for all area/zone covered, complete with all connections,interconnections as required.
| 8 Zone | 1 | Nos
CABLING WORKS
9 | Supply and wiring with 2C x 1.5 sq.mm FR twisted pair shielded,1.1KV grade PVC insulated unarmoured copper conductor cable, PVC overall sheathed cable in already laid conduit with interconnections complete as required and as directed by EIC.(For fire detector) | 90 | Mtr
Burgler Alarm works
1 | Providing and fixing of Burglar Alarm system covered in Door magnetic contact sensor, PIR sensor,Panic switch, sounder , Cable & conduits. ( Make :-Securico/Texecom or equivalent) | 1 | Nos
TOTAL

## APPROVED MAKE LIST-INTERIOR (hidden)
APPROVED MAKE OF MATERIALS (INTERIOR & FURNISHING)
CHENGALPATTU BRANCH & ATM - INTERIOR, FURNISHING, ELECTRICAL, DATA CABLING AND AIR CONDITIONING WORKS FOR PUNJAB & SIND BANK (CHENNAI ZONE)
S.No | ITEM | MAKES
1 | Wood | Teak wood
2 | Grid Ceiling | Armstrong / Daikin
3 | Gypsum board | India Gypsum Ltd / La gyp /equivalent
4 | Veneer | Uro / Garnet
5 | Granite | Black colour g-20, Tiger black
6 | Laminate | Merino / Greenlam / Asis / Century / Archid
7 | Glass | Saint Gobain,Modi guard
8 | Flush door | Greenply /Asis / IDEAL PLY , Assam Prestige make
9 | Marine plywood | Century Shiny / Swing
10 | Commercial plywood | Century Shiny / Swing / Assam top / Green line / Omega / Archid
11 | Door closers | Ozone / Dorma / Ebco
12 | Floor spring / Patch fittings | Ozone / Dorma / Ebco
13 | Furniture hardware | Dorset / Godrej / Ebco / Hettich
14 | Melamine coat | Asian or equivalent
15 | Putty | Asian / Birla putty/ Jk putty
16 | Paints | Asian paints / ICI Dulux / Berger
17 | Texture | Terraco / Novatex
18 | Adhesive | Fevicol SH , Araldite
19 | Mortise locks | Godrej / Dorset/Monarch
20 | Cylindrical lock | Godrej / Dorset/Monarch

## APPROVED MAKE LIST-ELECTRICAL (hidden)
APPROVED MAKE OF MATERIALS (ELECTRICAL WORKS)
CHENGALPATTU BRANCH & ATM - INTERIOR, FURNISHING, ELECTRICAL, DATA CABLING AND AIR CONDITIONING WORKS FOR PUNJAB & SIND BANK (CHENNAI ZONE)
S.No | ITEM | MAKES
1 | CABLES ISI MARK, 11000V (GRADE) | ANCHOR, POLYCAB, SUNCAB.
2 | WIRES: 660V GRADE ISI MARK | ANCHOR, POLYCAB, SUNCAB.
3 | ERW M.S.CONDUITS ISI MARKS | MOTI, GEMINI, ISI MARK
4 | CASING CAPPING & ACCESSORIES | MOTI, GEMINI, ISI MARK
5 | TRUNKINGS & TRUNKLINKS | MK, MOTI, GEMINI, ISI MARK
6 | PVC CONDUITS | MOTI, GEMINI, ISI MARK
7 | 5A /6A PLATE TYPE SWITCHES | ANCHOR ROMA, NORTH WEST, MK & SOCKETS, ISI MARK
8 | CEILING ROSES, HOLDRES | ANCHOR.
9 | BUZZERS, BELLPUSH, BELLS | MK, ANCHOR.
10 | DISTRIBUTION BOARDS, MCB's | MDS, SIEMENS, HAGER,C&S
11 | ELCB/RCCB | MDS, SIEMENS, HAGER,C&S
12 | LIGHT FITTINGS | PHILIPS, WIPRO, CROMPTON GREAVES ,ELENSERVE
13 | FANS AND EXHAUST FANS | CROMPTONS, GEC.
14 | REWIRABLE SWITCH FUSE UNITS | KEW, BOSMA, STANLEY,
15 | CUT-OUT'S | KEW, BOSMA, STANLEY,
16 | HRC SWITCH FUSES UNITS | GEC ALSTHOM, L&T, and SIEMENS.ABB
17 | TEAK FRAMED SWITCH: | SPEACIAL QUALITY BOARDS AVAILABLE IN MARKET
18 | BUS-BAR CHAMBERS | STANLEY, KEW,
19 | CABLE GLANDS & LUGS | SIEMENS, DOWELS
20 | INDUSTRIAL SOCKETS | MK, CROMPTON, MDS, SIEMENS,C&S
21 | 15A SWITCH, SOCKETS | MK, ANCHOR ROMA, NORTH WEST,
22 | 16A DP SWITCHES WITH FUSE | ANCHOR.
23 | GEYSERS/WATER HEATER | SPHERE HOT, RACOLD, USHA.
24 | TELEPHONE WIRES | DELTON, FINOLEX.
25 | FLOURESCENT TUBES & BULBS | PHILIPS, CROMPTON, OSRAM. BAJAJ, ELENSERVE
26 | G.I. B-CLASS PIPES (ISI) | ITC, PRAKASH
27 | ELECTRONIC REGULATORS | MK, ANCHOR
28 | CONTACTORS | L&T, SIEMENS.
29 | MCCBs | L&T, GE, ABB, SIMENS
30 | MEASURING INSTRUMENTS | A.E., IMP, MECCO,
31 | C.T | A.E., IMP, MECCO, SIEMENS.
32 | CAPACITORS | CROMPTON, ASIAN, L&T.
33 | P.F. RELAY | L&T, CROMPTON.
34 | TELEPHONE OUTLETS: | ANCHOR ROMA, NORTH WEST, MK
35 | CEILING FANS | CROMPTON GREAVES / KHAITHAN/ USHA Model to be appd. By the architect.
36 | EXHAUST FANS | ALMONARD / CROMPTON
37 | LAN SWITCHES / JACKS | D - LINK , AMP, SYSCO
38 | DATA SOCKETS | D - LINK , AMP, SYSCO
39 | NET WORKS RACK & SWITCH | D - LINK , AMP, SYSCO
40 | SPEAKERS | AHUJA ,PHILIPS
41 | CCTV WITH ACCESSORIES | HIKVISION / AJHUA
NOTE: Apart from the above makes, any further equivalent make as approved by the bank, can also be used with prior permission from the bank.
Signature of the Contractor/Tendered (With Seal)

## Sheet1 (hidden)
626730
352437.5
575310
280500
165585
132340
98250
129500
122980